## Intro
Title | Calculation Grid Fees - Belgium - BESS Focus
Recipient | Internal Document
Flexcity Contact | Anna Hutse, Aron Vanneste
Date | 2026-01-21
Note: This sheet is intended for indicative purposes. Actual grid fees may vary based on specific contractual arrangements and regulatory changes.
Description
This sheet provides a comprehensive overview of grid fees for all Belgian DSOs (Fluvius, Ores, Resa, Sibelga) and the TSO (Elia) for the year 2026. The Calculator tab determines annual grid fees based on: - DSO/TSO selection (with regional breakdown for Fluvius) - Voltage level & Connection type - Connection capacity (MVA) - Annual peak demand (MW) - Monthly peak demand (MW) - Energy consumption (MWh) Two calculation scenarios are provided: 1. Without exemptions: Standard grid fees 2. With BESS exemptions: Reduced grid fees for battery energy storage systems under Belgian regulatory exemptions Additional tabs: - Visualisation tab: Interactive charts showing cost breakdown per fee component for both scenarios (automatically updates based on Calculator inputs) - Methodology tab: Calculation rules per DSO/TSO (specifically for peak & volumetric) and an overview of excluded costs and applied BESS exemptions - Details tab: Complete overview of grid fee components, sources, and all regulatory exemptions - BESS Example tab: Reference case for a 1MW/2MWh BESS system operating 1.5 cycles per day (for Fluvius: the region Midden-Vlaanderen was used) - BACKEND tabs: Data sources (Fees Database, BESS Exemptions, Connection Types)

## Calculator
INPUT |  |  | Input for BESS 1 MW/2MWh, 1.5 cycles per day
DSO/TSO Selection | Elia |  | Yearly Consumption (MWh/y) | 1095
Region | N/A |  | Monthly Peak Demand (MW) | 1
Voltage Level |  |  | Annual Peak Demand (MW) | 1
Connection Type |  |  | Contracted Capacity (MVA) | 1
Yearly Consumption Offtake (MWh/y) | 1095
Yearly Consumption Injection (MWh/y) | 1027
Monthly Peak Demand (MW) | 1.5
Annual Peak Demand (MW) | 1.5
Contracted Capacity (MVA) | 1
CALCULATION WITHOUT EXEMPTIONS |  |  | CALCULATION WITH EXEMPTIONS FOR BESS
Injection Fixed | 0 | k€/y | Injection Fixed | 0 | k€/y
Injection Contracted | 0 | k€/y | Injection Contracted | 0 | k€/y
Injection Peak Monthly | 0 | k€/y | Injection Peak Monthly | 0 | k€/y | Please allow a moment for the calculator to refresh after making a dropdown selection
Injection Peak Yearly | 0 | k€/y | Injection Peak Yearly | 0 | k€/y
Injection Volumetric | 0 | k€/y | Injection Volumetric | 0 | k€/y
Injection Other | 0 | k€/y | Injection Other | 0 | k€/y
Offtake Fixed | 0 | k€/y | Offtake Fixed | 0 | k€/y
Offtake Contracted | 0 | k€/y | Offtake Contracted | 0 | k€/y
Offtake Peak Monthly | 0 | k€/y | Offtake Peak Monthly | 0 | k€/y
Offtake Peak Yearly | 0 | k€/y | Offtake Peak Yearly | 0 | k€/y
Offtake Volumetric | 0 | k€/y | Offtake Volumetric | 0 | k€/y
Offtake Other | 0 | k€/y | Offtake Other | 0 | k€/y
TOTAL | 0 | k€/y | TOTAL | 0 | k€/y

## Visualisation
DSO/TSO Selection | Region | Voltage Level | Connection Type | Yearly Consumption (MWh/y) | Monthly Peak Demand (MW) | Annual Peak Demand (MW) | Contracted Capacity (MVA)
Elia | N/A |  |  | 1095 | 1.5 | 1.5 | 1

## Methodology
All calculations in this sheet are excluding VAT
Costs not taken into account
Fees for (additional) reactive energy
Fees for exceeding access power (in this sheet referred to as contracted capacity)
Fees for imbalance compensation tariffs (specifically for Elia)
Fees for market integration (specifically for Elia)
Details about calculations
Offtake Monthly Peak Elia | monthly peak applied to the 11th measured peak of the month (only if specifically connected to the Elia grid or DSO connected to 30/36/70-kV network). Quarter-hours during the monthly peak demand-reduction period (April to September, weekends, 10 a.m. to 7 p.m.) are excluded from the monthly peak calculation.
Offtake Annual Peak Elia | Annual peak applied to the highest measured peak during the annual peak tariff period in the previous 12 months, after excluding the 10 highest peaks measured each month (only if specifically connected to the Elia grid or DSO connected to 30/36/70-kV network). The annual peak tariff period is defined as January to March and November to December, from 5 p.m. to 8 p.m., excluding weekends and public holidays."
Offtake Annual Peak Sibelga | Capacity rate multiplied by degression factor E1
Offtake Volumetric Sibelga | fees are split into HI and LO HI: 0.0044466 LO: 0.0026680 --> for these calculations the average was taken
Offtake Annual Peak Ores | Multiply by 1/3 of highest monthly peak from the past 12 months
Offtake Monthly Peak Ores | Multiply by 2/3 of 11th highest quarterly peak of the month OR (if insufficient data) multiply by 2/3 of the maximum measured peak power during the month
Offtake Volumetric Resa | fees are split into HI and LO: HI: 0.0005446 LO: 0.0002178" --> for these calculations the average was taken
Offtake Volumetric Resa | fees are split into HI and LO: HI: 0.0005446 LO: 0.0002178" --> for these calculations the average was taken
Offtake Monthly Peak Resa | Multiply by 2/3 of 11th highest quarterly peak of the month OR (if insufficient data) multiply by 2/3 of the maximum measured peak power during the month
Offtake Annual Peak Resa | Multiply by 1/3 of highest monthly peak from the past 12 months
BESS Exemptions taken into account
Elia | Offtake | Electricity storage facilities: New storage facilities (commissioned after July 1, 2018): 100% exemption from all transmission tariffs (except connection tariffs) for 10 years following initial commissioning.
Fluvius | Offtake | -Stand-alone stationary storage systems: • 80% reduction on the contracted capacity and peak monthly tariff (exceeding capacity tariff as well but not included in these calculations • 100% exemption from volumetric tariff (tariff for PSO & surcharges)
Resa | Injection | -Electricity storage installations: • 100% exemption from injection tariffs
Ores | Offtake | -Electricity storage installations: • PSO tariff based on net active energy consumed over a calendar year (not gross consumption) • Surcharges tariff based on net active energy consumed over a calendar year (not gross consumption) • Correction and reimbursement processed in January of year Y+1
| Injection | -Electricity storage installations: • 100% exemption from injection tariffs
Split LO & HI hours
Sibelga | LO hours: Monday to Friday 10PM-7AM, Weekends & Holidays 24h/24
Resa/Ores | Quarter-hourly meter | LO hours: Monday to Friday 10:30PM-7:30AM, Weekends & Holidays 24h/24
| Monthly or annual meter | LO hours: Monday to Friday 10PM-7AM, Weekends & Holidays 24h/24

## Details
Assume 1.5 cycle per day = 3 MWh charge + 3 MWh discharge |  |  | Input
|  |  | Peak demand (MW) | 1
|  |  | E1 | 0.80371
Code | System Operator | Voltage level | Connection | Link to tariffs | Total costs for 1 MW, 2h BESS incl. regulatory exemptions | Exemptions | Total costs for 1 MW, 2h BESS excl. regulatory exemtions | Injection costs | Note | Contracted Yearly | Peak Monthly | Note | Peak Yearly | Note | Volumetric | Note | Other costs | Note | Offtake costs | Note | Contracted Capacity | Note | Peak Monthly | Note | Peak Yearly | Note | Volumetric | Note | Other costs | Note
[8 empty] | Fixed | [10 empty] | Fixed
| - | - | - | - | k€/y |  | k€/y | k€/y | - | k€/MVA/y | k€/MW/y | - |  | - | k€/MWh | - | - | - | k€/y | - | k€/MVA/y |  | k€/MW/y | - | k€/MW/y | - | k€/MWh | - | k€/MWh | -
Elia - 110-380 | Elia | High - 110-380 kV |  | Tariffs for 24-27 Exemption Electricity storage facilities | 7.5485 | -Mobile load discount: For 'mobile load' access points, the monthly and yearly offtake peak tariff as well as the contracted yearly tariff is reduced by 7%. -Electricity storage facilities: New storage facilities (commissioned after July 1, 2018): 100% exemption from all transmission tariffs (except connection tariffs) for 10 years following initial commissioning. Expanded storage facilities (>7.5% increase in both capacity and energy vs. July 1, 2018): 80% exemption from transmission tariffs (except connection tariffs) for 5 years following recommissioning. The exemption can start after the first phase of expansion (capacity OR energy), but must be reimbursed within 2 months if the second phase is not completed within 3 years after the first phase ends. -Balancing/redispatching corrections: If Elia activates downward aFRR, mFRR, or redispatching energy that impacts the monthly or yearly offtake peak calculation, the monthly or yearly peak will be corrected based on this impact. | 24.9559 | [13 empty] | 7.5485 | Different tariffs for additional access points (they are a lot smaller) | 4.74 | monthly peak applied to the 11th measured peak of the month (only if specifically connected to the Elia grid or DSO connected to 30/36/70-kV network). Quarter-hours during the monthly peak demand-reduction period (April to September, weekends, 10 a.m. to 7 p.m.) are excluded from the monthly peak calculation. | 9.826 | Annual peak applied to the highest measured peak during the annual peak tariff period in the previous 12 months, after excluding the 10 highest peaks measured each month (only if specifically connected to the Elia grid or DSO connected to 30/36/70-kV network). The annual peak tariff period is defined as January to March and November to December, from 5 p.m. to 8 p.m., excluding weekends and public holidays. | 0.0025949
Elia - 30-70 |  | High - 30-70 kV |  |  | 13.606 | See above | 40.0999 | [13 empty] | 13.606 | See above | 7.2864 | See above | 14.88 | See above | 0.0039521
Elia -Transfo < 30kV |  | Tranformer output to MV (<30 kV) |  |  | 25.1504 | See above | 62.3801 | [13 empty] | 25.1504 | See above | 9.8844 | See above | 19.9574 | See above | 0.0067469
Fluvius - 26 - 36 - Post | Fluvius | >26-36 kV | Post | Tariffs 2026 Offtake Tariffs 2026 Injection | 16.8493 | EXEMPTIONS FOR OFFTAKE -Demand response service providers: Exemption for measured quarter-hour peaks (kW) during activation or control tests that Elia performs in the context of those demand response services. -Stand-alone stationary storage systems: • 80% reduction on the contracted capacity and peak monthly tariff (exceeding capacity tariff as well but not included in these calculations) • 100% exemption from volumetric tariff (tariff for PSO & surcharges) -Transit tariffs are 75% of the tariffs for the customer group to which the transit point belongs -The maximum tariff is 0.0596319 k€/MWh, excl.tariff for exceeding access capacity, additional reactive energy offtake, data management (fixed tariff) and it is not applicable to emergency power supplies, transit points, low voltage customers with analog meters and prosumers with reversing meters. Low voltage customers with peak measurement must pay a minimum contribution of €122.61/year, even if the maximum tariff applies. | 76.3979 | 0.05765 | Data mgt fee | [5 empty] | 0.001751 |  |  |  | 0.05765 | Data mgt fee | 30.9005 |  | 43.1829 |  |  |  | 0.0002574 | tariff for PSO & surcharges |  | Transit tariffs are 75% of the tariffs for the customer group to which the transit point belongs
Fluvius - 26 - 36 - Grid |  |  | Grid |  | 9.3626 | EXEMPTIONS FOR INJECTION -Small-scale decentralized production (≤10 kVA): 100% exemption from the volumetric tariff -100% exemption from the fixed cost (data mgt) UNLESS seperate injection access point | 42.7396 | 0.05765 | Data mgt fee | [5 empty] | 0.001751 |  |  |  | 0.057646 | Data mgt fee | 14.6849 |  | 21.9647 |  |  |  | 0.0037053 | See above |  | See above
Fluvius - 1-26 - Post |  | >1-26 kV | Post |  | 16.8493 | See above | 76.3979 | 0.05765 | Data mgt fee | [5 empty] | 0.001751 |  |  |  | 0.05765 | Data mgt fee | 30.9005 |  | 43.1829 |  |  |  | 0.0002574 | See above |  | See above
Fluvius - 1-26 - Grid |  |  | Grid |  | 19.159 | See above | 91.8125 | 0.05765 | Data mgt fee | [5 empty] | 0.001751 |  |  |  | 0.05765 | Data mgt fee | 35.1788 |  | 50.4531 |  |  |  | 0.0037881 | See above |  | See above
Sibelga - 1-26 - Main | Sibelga | 1-26 kV | Main Supply | Tariff 2026 Terms of application Simulator | 86.5918 |  | 86.5918 | [11 empty] | 0.54311 |  |  |  | 48.2067 | capacity rate multiplied by degression factor E1 Charged monthly based on the highest 15-minute peak power (kW) during peak hours in the past 12 months (including current month) |  |  | 0.0038031 | fees are split into HI and LO HI: 0.0047539 LO: 0.002852 --> average taken | 0.030756 | Surcharges: -Pension -Road compensation -Corporate tax -PSO -Transmission
|  |  | Backup Supply |  | 62.4885 |  | 62.4885 | [11 empty] | 0.54311 |  |  |  | 24.1034 | capacity rate multiplied by degression factor E1 Charged monthly based on the highest 15-minute peak power (kW) during peak hours in the past 12 months (including current month) |  |  | 0.0038031 | fees are split into HI and LO HI: 0.0047539 LO: 0.002852 --> average taken | 0.030756 | Surcharges: -Pension -Road compensation -Corporate tax -PSO -Transmission
RESA - MT - Post | Resa | MT | Post (T-MT) | Tariff 2026 Offtake Tariff 2026 Injection | 10.3015 | EXEMPTIONS FOR OFFTAKE -Emergency power supplies: • 100% exemption from capacity term • Maximum usage duration: 500 hours per year -Shared energy within the same building: • 80% reduction on the proportional term (volumetric tariff) for energy shared within the same building • No reduction applies to residual electricity consumed -Flexibility activation: When flexibility is activated, the capacity requested by the distribution system operator is deducted from the peak of the relevant quarter-hour | 11.6501 | 0.87758 |  | 0.47097 | [8 empty] | 0.90655 | Calculated pro-rata based on the number of days covered by the billing period |  |  | 3.9068 | Multiply by 2/3 of 11th highest quarterly peak of the month OR (if insufficient data) multiply by 2/3 of the maximum measured peak power during the month Source | 0.081391 | Multiply by 1/3 of highest monthly peak from the past 12 months Source | 0.000392 | fees are split into HI and LO: HI: 0.0005600 LO: 0.0002240 | 0.0045457 | Surcharges: -PSO -Road tax -Corporate tax -Other local, regional, provincial taxes -Regulatory balances
RESA - MT - Grid |  |  | Grid (MT) |  | 46.4517 | EXEMPTIONS FOR INJECTION -Production installations with anti-return device: • 100% exemption from injection tariffs for production installations where injection to the distribution network is made permanently technically impossible by an 'anti-return' device -Electricity storage installations: • 100% exemption from injection tariffs • When a production installation is connected downstream of the same access point as a storage installation (and injection is not made permanently technically impossible), only the storage installation benefits from this exemption - the production installation must still pay injection tariffs | 47.1608 | 0.66523 |  | 0.043899 | [8 empty] | 0.79643 | See above |  |  | 30.9335 | See above | 0.64445 | See above | 0.0049894 | fees are split into HI and LO: HI: 0.0071277 LO: 0.0028511 | 0.0078666 | See above
ORES - MT - Post | Ores | MT | Post (T-MT) | Tariff 2026 Offtake Tariff 2026 Injection | 4.8747 | EXEMPTIONS FOR OFFTAKE -Emergency power supplies: • 100% exemption from capacity term • Maximum usage duration: 500 hours per year -Shared energy within the same building: • 80% reduction on the proportional term (volumetric tariff) for energy shared within the same building • No reduction applies to residual electricity consumed -Flexibility activation: When flexibility is activated, the capacity requested by the distribution system operator is deducted from the peak of the relevant quarter-hour -Electricity storage installations: • PSO tariff based on net active energy consumed over a calendar year (not gross consumption) • Surcharges tariff based on net active energy consumed over a calendar year (not gross consumption) • Correction and reimbursement processed in January of year Y+1 | 11.0129 | 0.87758 |  | 0.47097 | [8 empty] | 0.87569 |  |  |  | 3.0894 | Multiply by 2/3 of 11th highest quarterly peak of the month OR (if insufficient data) multiply by 2/3 of the maximum measured peak power during the month Source | 0.064362 | Multiply by 1/3 of highest monthly peak from the past 12 months Source | 0.0001288 | fees are split into HI and LO: HI: 0.0001695 LO: 0.0000881 | 0.0050172 | Surcharges: -PSO -Road tax -Corporate tax -Other local, regional, provincial taxes -Regulatory balances
ORES - MT - Grid |  |  | Grid (MT) |  | 25.5304 | EXEMPTIONS FOR INJECTION -Production installations with anti-return device: • 100% exemption from injection tariffs for production installations where injection to the distribution network is made permanently technically impossible by an 'anti-return' device -Electricity storage installations: • 100% exemption from injection tariffs • When a production installation is connected downstream of the same access point as a storage installation (and injection is not made permanently technically impossible), only the storage installation benefits from this exemption - the production installation must still pay injection tariffs | 37.982 | 0.66523 |  | 0.043899 | [8 empty] | 0.63734 |  |  |  | 22.3551 | See above | 0.46573 | See above | 0.0040319 | fees are split into HI and LO: HI: 0.0001695 LO: 0.0000881 | 0.0085843 | See above

## BESS Example
Assumtions
BESS Size | 1 | MW
BESS Size | 2 | MWh
Cycles per day | 1.5 | c/day
Efficiency | 88%
Without exemption for BESS
k€/MWBESS/y | Grid connection | Volumetric Offtake + Injection | Offtake Peak Yearly + Monthly | Fixed Offtake + Injection | Offtake Contracted | Injection Contracted | Total
| Elia - 110-380 | 3.029 | 14.566 | 0 | 7.5485 |  | 25.1435
| Elia - 30-70 | 4.6132 | 22.1664 | 0 | 13.606 |  | 40.3856
| Elia -Transfo < 30kV | 7.8755 | 29.8418 | 0 | 25.1504 |  | 62.8677
| Fluvius - 26 - 36 - Post | 2.0991 | 43.1829 | 0.1153 | 30.9005 |  | 76.2978
| Fluvius - 26 - 36 - Grid | 6.1237 | 21.9647 | 0.1153 | 14.6849 |  | 42.8886
| Fluvius - 1-26 - Post | 2.0991 | 43.1829 | 0.1153 | 30.9005 |  | 76.2978
| Fluvius - 1-26 - Grid | 6.2204 | 50.4531 | 0.1153 | 35.1788 |  | 91.9676
| Sibelga - 1-26 - Main | 38.1169 | 48.2067 | 0.54311 |  |  | 86.8667
| RESA - MT - Post | 5.4351 | 3.9882 | 1.7841 |  | 0.47097 | 11.6784 | -25.86% | Fluvius - 26 - 36 - Grid | Peak & Contracted
| RESA - MT - Grid | 14.4379 | 31.5779 | 1.4617 |  | 0.043899 | 47.5214 | -9.804% | Fluvius - 1-26 - Grid | Peak & Contracted
| ORES - MT - Post | 5.6442 | 3.1538 | 1.7533 |  | 0.47097 | 11.0222 | 8.75% | Sibelga - 1-26 - Main | Peak
| ORES - MT - Grid | 14.1061 | 22.8208 | 1.3026 |  | 0.043899 | 38.2734
With exemption for BESS
k€/MWBESS/y | Grid connection | Volumetric Offtake + Injection | Offtake Peak Yearly + Monthly | Fixed Offtake + Injection | Offtake Contracted | Injection Contracted | Total
| Elia - 110-380 | 0 |  | 0 | 7.5485 |  | 7.5485
| Elia - 30-70 | 0 |  | 0 | 13.606 |  | 13.606
| Elia -Transfo < 30kV | 0 |  | 0 | 25.1504 |  | 25.1504
| Fluvius - 26 - 36 - Post | 1.7986 | 8.6366 | 0.1153 | 6.1801 |  | 16.7306
| Fluvius - 26 - 36 - Grid | 1.7986 | 4.3929 | 0.1153 | 2.937 |  | 9.2438
| Fluvius - 1-26 - Post | 1.7986 | 8.6366 | 0.1153 | 6.1801 |  | 16.7306
| Fluvius - 1-26 - Grid | 1.7986 | 10.0906 | 0.1153 | 7.0358 |  | 19.0403
| Sibelga - 1-26 - Main | 38.1169 | 48.2067 | 0.54311 |  |  | 86.8667
| RESA - MT - Post | 5.4068 | 3.9882 | 0.90655 |  | 0.47097 | 10.7725
| RESA - MT - Grid | 5.824 | 31.5779 | 0.79643 |  | 0.043899 | 38.2422
| ORES - MT - Post | 0.84663 | 3.1538 | 0.87569 |  | 0.47097 | 5.347
| ORES - MT - Grid | 2.1159 | 22.8208 | 0.63734 |  | 0.043899 | 25.618
Without vs. With Exemptions
k€/MWBESS/y | Grid connection | Without exemtions | With exemptions
| Elia - 110-380 | 25.1435 | 7.5485
| Elia - 30-70 | 40.3856 | 13.606
| Elia -Transfo < 30kV | 62.8677 | 25.1504
| Fluvius - 26 - 36 - Post | 76.2978 | 16.7306
| Fluvius - 26 - 36 - Grid | 42.8886 | 9.2438
| Fluvius - 1-26 - Post | 76.2978 | 16.7306
| Fluvius - 1-26 - Grid | 91.9676 | 19.0403
| Sibelga - 1-26 - Main | 86.8667 | 86.8667
| RESA - MT - Post | 11.6784 | 10.7725
| RESA - MT - Grid | 47.5214 | 38.2422
| ORES - MT - Post | 11.0222 | 5.347
| ORES - MT - Grid | 38.2734 | 25.618

## BACKEND Fees Database
Key | DSO/TSO Selection | Region | Voltage Level | Connection Type | Injection Fixed | Injection Contracted | Injection Peak Monthly | Injection Peak Yearly | Injection Volumentric | Injection Other | Offtake Fixed | Offtake Contracted | Offtake Peak Monthly | Offtake Peak Yearly | Offtake Volumetric | Offtake Other
[5 empty] | k€/y | k€/MVA/y | k€/MW/y | k€/MW/y | k€/MWh | k€/MWh | k€/y | k€/MVA/y | k€/MW/y | k€/MW/y | k€/MWh | k€/MWh
Elia - 110-380 | Elia |  | 110-380 kV | [8 empty] | 7.5485 | 4.74 | 9.826 | 0.0025949
Elia - 30-70 | Elia |  | 30-70 kV | [8 empty] | 13.606 | 7.2864 | 14.88 | 0.0039521
Elia -Transfo < 30kV | Elia |  | Transfo < 30 kV | [8 empty] | 25.1504 | 9.8844 | 19.9574 | 0.0067469
Fluvius - Antwerpen - 26 - 36 - Post | Fluvius | Antwerpen | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 41.6413 | 56.845 |  | 0.0004869
Fluvius - Antwerpen - 26 - 36 - Grid | Fluvius | Antwerpen | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 33.6583 | 54.3036 |  | 0.0041367
Fluvius - Antwerpen - 1-26 - Post | Fluvius | Antwerpen | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 41.6413 | 56.845 |  | 0.0004869
Fluvius - Antwerpen - 1-26 - Grid | Fluvius | Antwerpen | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 33.6583 | 54.3036 |  | 0.0041367
Fluvius - Halle-Vilvoorde - 26 - 36 - Post | Fluvius | Halle-Vilvoorde | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 25.9309 | 57.4469 |  | 0.000402
Fluvius - Halle-Vilvoorde - 26 - 36 - Grid | Fluvius | Halle-Vilvoorde | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 37.111 | 60.1395 |  | 0.0050562
Fluvius - Halle-Vilvoorde - 1-26 - Post | Fluvius | Halle-Vilvoorde | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 25.9309 | 57.4469 |  | 0.000402
Fluvius - Halle-Vilvoorde - 1-26 - Grid | Fluvius | Halle-Vilvoorde | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 37.111 | 60.1395 |  | 0.0050562
Fluvius - Kempen - 26 - 36 - Post | Fluvius | Kempen | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 28.6217 | 39.1871 |  | 0.0003942
Fluvius - Kempen - 26 - 36 - Grid | Fluvius | Kempen | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 6.8374 | 9.6335 |  | 0.0079988
Fluvius - Kempen - 1-26 - Post | Fluvius | Kempen | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 28.6217 | 39.1871 |  | 0.0003942
Fluvius - Kempen - 1-26 - Grid | Fluvius | Kempen | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 31.5677 | 46.8631 |  | 0.0042205
Fluvius - Limburg - 26 - 36 - Post | Fluvius | Limburg | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 25.6442 | 32.2407 |  | 0.0003983
Fluvius - Limburg - 26 - 36 - Grid | Fluvius | Limburg | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 30.4062 | 32.2407 |  | 0.0058493
Fluvius - Limburg - 1-26 - Post | Fluvius | Limburg | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 25.6442 | 32.2407 |  | 0.0003983
Fluvius - Limburg - 1-26 - Grid | Fluvius | Limburg | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 30.4062 | 48.9121 |  | 0.0058493
Fluvius - Midden-Vlaanderen - 26 - 36 - Post | Fluvius | Midden-Vlaanderen | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 30.9005 | 43.1829 |  | 0.0002574
Fluvius - Midden-Vlaanderen - 26 - 36 - Grid | Fluvius | Midden-Vlaanderen | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.057646 | 14.6849 | 21.9647 |  | 0.0037053
Fluvius - Midden-Vlaanderen - 1-26 - Post | Fluvius | Midden-Vlaanderen | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 30.9005 | 43.1829 |  | 0.0002574
Fluvius - Midden-Vlaanderen - 1-26 - Grid | Fluvius | Midden-Vlaanderen | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 35.1788 | 50.4531 |  | 0.0037881
Fluvius - West - 26 - 36 - Post | Fluvius | West | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 35.6765 | 46.1985 |  | 0.0004294
Fluvius - West - 26 - 36 - Grid | Fluvius | West | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 41.6436 | 59.7614 |  | 0.0042244
Fluvius - West - 1-26 - Post | Fluvius | West | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 35.6765 | 46.1985 |  | 0.0004294
Fluvius - West - 1-26 - Grid | Fluvius | West | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 41.6436 | 59.7614 |  | 0.0042244
Fluvius - Zenne-Dijle - 26 - 36 - Post | Fluvius | Zenne-Dijle | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 37.9655 | 47.9647 |  | 0.0003951
Fluvius - Zenne-Dijle - 26 - 36 - Grid | Fluvius | Zenne-Dijle | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 40.6845 | 59.857 |  | 0.0042254
Fluvius - Zenne-Dijle - 1-26 - Post | Fluvius | Zenne-Dijle | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 37.9655 | 47.9647 |  | 0.0003951
Fluvius - Zenne-Dijle - 1-26 - Grid | Fluvius | Zenne-Dijle | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 40.6845 | 59.857 |  | 0.0042254
Fluvius - Imewo - 26 - 36 - Post | Fluvius | Imewo | 26-36 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 39.4778 | 46.4718 |  | 0.0003757
Fluvius - Imewo - 26 - 36 - Grid | Fluvius | Imewo | 26-36 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 36.1059 | 54.2289 |  | 0.0039226
Fluvius - Imewo - 1-26 - Post | Fluvius | Imewo | 1-26 kV | Post | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 39.4778 | 46.4718 |  | 0.0003757
Fluvius - Imewo - 1-26 - Grid | Fluvius | Imewo | 1-26 kV | Grid | 0.05765 |  |  |  | 0.001751 |  | 0.05765 | 36.1059 | 54.2289 |  | 0.0039226
Sibelga - 1-26 - Main | Sibelga |  | 1-26 kV | Main | [6 empty] | 0.54311 |  | 46.0224 |  | 0.0038031 | 0.030756
Sibelga - 1-26 - Backup | Sibelga |  | 1-26 kV | Backup | [6 empty] | 0.54311 |  | 23.0112 |  | 0.0038031 | 0.030756
Resa - MT - Post | Resa |  | MT | Post | 0.87758 | 0.47097 |  |  |  |  | 0.90655 |  | 3.9068 | 0.081391 | 0.000392 | 0.0045457
Resa - MT - Grid | Resa |  | MT | Grid | 0.66523 | 0.043899 |  |  |  |  | 0.79643 |  | 30.9335 | 0.64445 | 0.0049894 | 0.0078666
Ores - MT - Post | Ores |  | MT | Post | 0.87758 | 0.47097 |  |  |  |  | 0.87569 |  | 3.0894 | 0.064362 | 0.0001288 | 0.0050172
Ores - MT - Grid | Ores |  | MT | Grid | 0.66523 | 0.043899 |  |  |  |  | 0.63734 |  | 22.3551 | 0.46573 | 0.0040319 | 0.0085843

## BACKEND BESS Exemptions
DSO/TSO Selection | Fee Type | Multiplier
Elia | Injection Fixed | 1
Elia | Injection Contracted | 1
Elia | Injection Peak Monthly | 1
Elia | Injection Peak Yearly | 0
Elia | Injection Volumetric | 1
Elia | Injection Other | 0
Elia | Offtake Fixed | 1
Elia | Offtake Contracted | 1
Elia | Offtake Peak Monthly | 0
Elia | Offtake Peak Yearly | 0
Elia | Offtake Volumetric | 0
Elia | Offtake Other | 0
Fluvius | Injection Fixed | 1
Fluvius | Injection Contracted | 1
Fluvius | Injection Peak Monthly | 1
Fluvius | Injection Peak Yearly | 0
Fluvius | Injection Volumetric | 1
Fluvius | Injection Other | 0
Fluvius | Offtake Fixed | 1
Fluvius | Offtake Contracted | 0.2
Fluvius | Offtake Peak Monthly | 0.2
Fluvius | Offtake Peak Yearly | 1
Fluvius | Offtake Volumetric | 0
Fluvius | Offtake Other | 0
Sibelga | Injection Fixed | 1
Sibelga | Injection Contracted | 1
Sibelga | Injection Peak Monthly | 1
Sibelga | Injection Peak Yearly | 1
Sibelga | Injection Volumetric | 1
Sibelga | Injection Other | 1
Sibelga | Offtake Fixed | 1
Sibelga | Offtake Contracted | 1
Sibelga | Offtake Peak Monthly | 1
Sibelga | Offtake Peak Yearly | 1
Sibelga | Offtake Volumetric | 1
Sibelga | Offtake Other | 1
Resa | Injection Fixed | 0
Resa | Injection Contracted | 0
Resa | Injection Peak Monthly | 0
Resa | Injection Peak Yearly | 0
Resa | Injection Volumetric | 0
Resa | Injection Other | 0
Resa | Offtake Fixed | 1
Resa | Offtake Contracted | 0
Resa | Offtake Peak Monthly | 1
Resa | Offtake Peak Yearly | 1
Resa | Offtake Volumetric | 1
Resa | Offtake Other | 1
Ores | Injection Fixed | 0
Ores | Injection Contracted | 0
Ores | Injection Peak Monthly | 0
Ores | Injection Peak Yearly | 0
Ores | Injection Volumetric | 0
Ores | Injection Other | 0
Ores | Offtake Fixed | 1
Ores | Offtake Contracted | 1
Ores | Offtake Peak Monthly | 1
Ores | Offtake Peak Yearly | 1
Ores | Offtake Volumetric | 0.15
Ores | Offtake Other | 0.15

## BACKEND Connection Types
Elia | Fluvius | Sibelga | Ores | Resa | Fluvius Regions | Elia | Fluvius | Sibelga | Ores | Resa
110-380 kV | 26-36 kV | 1-26 kV | MT | MT | Antwerpen |  | Post | Main | Post | Post
30-70 kV | 1-26 kV |  |  |  | Halle-Vilvoorde |  | Grid | Backup | Grid | Grid
Transfo < 30 kV |  |  |  |  | Kempen
Limburg
Midden-Vlaanderen
West
Zenne-Dijle
Imewo